## Sheet1
Sr No | Decription | Available with Lakeshore and Quantity | Make | Age of the Instrument | Owned/Rental
1 | MOBILE PEDESTAL
2 | RACKS PURCHASED
3 | FIRE DOOR
4 | OFFICE TABLE
5 | BIOLOGICAL SAFETYCABINET | 3 nos. Available in other sections of the lab-Microbiology, and Molecular biology | Labline | 1 year, <1 year, and 2 years | Owned
6 | FINN PIPETTE 1-10 UL
7 | MICROMP CLEAR ADHESIVE FILMS
8 | KIT TQMN DRUG METABOLISM 10
9 | MICROAMP CLEAR ADHESIVE FILMS
10 | SINGLE SHUTTER OPENABLE DOOR AT LAB
11 | HEALTHCARE DIAGNOSTIC INFRASTRUCTURE
12 | GYPSUM,PAINTING & ALUMINIUM WORKS
13 | GYPSUM,PAINTING & ALUMINIUM WORKS
14 | HVAC SYSTEM
15 | ELECTRICAL AND PLUMBING WORK
16 | GYPSUM WORK AND PAINTING WORK
17 | HVAC SYSTEM
18 | TURNKEY PROJECT
19 | ELECTRICAL AND PLUMBING WORK
20 | GYPSUM WORK CEILING LIFT LOBBY
21 | FLOOR PIPE COVERING WORK
22 | EXECUTIVE TABLE
23 | SUPPLY & INSTALLATION OF AC UNITS
24 | POWDER COATED ALUMINIUM WORKS
25 | PLUMBING MATERIALS
26 | SUPPLY & INSTALLATION OF AC UNITS
27 | SUPPLY & INSTALLATION OF AC UNITS
28 | TURNKEY PROJECT
29 | TURNKEY PROJECT
30 | SUPPLY & INSTALLATION OF AC UNITS
31 | SUPPLY & INSTALLATION OF AC UNITS
32 | SUPPLY & INSTALLATION OF AC UNITS
33 | TRESS WORK AT ROOFTOP
34 | GLASS FABRICATION WORKS
35 | GLASS STORE WORK
36 | GYPSUM CEILING WORK AND PAINTING WORK
37 | GYPSUM CEILING WORK AND PAINTING WORK
38 | GLASS FABRICATION WORKS
39 | TILE FLOORING EPOXY WORK
40 | GLASS FABRICATION WORKS
41 | SUPPLY & INSTALLATION OF AC UNITS
42 | TILE FLOORING EPOXY WORK
43 | EXECUTIVE TABLES
44 | DESKTOP
45 | PC REQUIREMENT FOR ACCESS CONTROL SYSTEM
46 | AIR CONDITIONER
47 | BARCOD PRINTER
48 | TABLETOP VACCUM PACKAGING MACHINE
49 | TABLETOP VACCUM PACKAGING MACHINE
50 | OFFICE CHAIRS 9 TABLE DESKY TWO SEATER S
51 | ALUMINIUM CHANNELS POLYSTER BASED NETTED
52 | INSTALLATION OF ALUMINIUM FABRICATION WO
53 | FORBS AC INV SPILT 3S 1NOS FORBS AC INV
54 | OSRAM LED TUBE SET 20W WH ALMONARD 12 EX
55 | FIRE EXTUIGUISHER BOX FOR LAB
56 | OFFICE CHAIRS
57 | AYT 201 OFFICE CHAIR(10) AND MOBILE PEDESTAL(14)
58 | MICHROSCOPE FOR KOCHI LAB
59 | DIGITAL SIGNAGE FOR KOCHI LAB
60 | BARTENDER PROFESSIONAL EDITION
61 | Digital Pathology Scanner - 15 Slide
62 | BARTENDER PROFESSIONAL EDITION
63 | FRIDGE PURCHASE FOR KOCHI LAB
64 | Leica Histocore Arcadia C, 220-240 V, 50-60 Hz | Yes-1 no. | Leica | <1 year | Owned
65 | HistoCore Muiticut Config.1 | Yes- 3nos. | Leica | 5 years, 4 years and <1 year | Owned
66 | Leica Water Bath Model Hi 1210 | Yes-1 no. | Leica | <1 year | Owned
67 | Leica Flattening Table Model HI 1220
68 | RNA SCREEN TAPE
69 | RNA SCREEN TAPE
70 | RFID CHIP
71 | TIP ONE FILTER
72 | RELIA PREP FFPE G DNA MINIPEP SYSTEM
73 | FRIEGHT OF MINIPEP SYSTEM
74 | FILTER TIP
75 | INTERNET CABLE PURCHASED TO KOCHI LAB
76 | US CABLE PURCHASE FOR KOCHI LAB
77 | USB-C DIGITAL AV MULTIPORT ADAPTOR
78 | Manha MFs100 Biometric Finger print scanner
79 | LG LED FOR KOCHI LAB
80 | BIOMEK I7
81 | ICT DESKTOP SUPPORT RESOURCE IN KARKINOS
82 | MS WS19 (16-CORE) DC ROK EQUIPMENT
83 | OFFICE CHAIRS AND DESKS ( 6+2)
84 | FNL MVE HECO 1542R-190AF-TS_CUSTOM DUTY
85 | Headphone
86 | Wi-Fi Access Points and installation kochin lab
87 | C 2 Hdmi converter
88 | TROLLEY, MATERIAL: SS, DIMENSIONS: L 65 ", B 46", H 76", 2 SHELF
89 | Hot oven with Digital temperature controller cum indicator | Yes-2 nos. (incubator for slide warming) | Kemi | >15 years | Owned
90 | Gypsum Partition WORK kochi lab final bill
91 | Powerpac Basic System (PO. 16P7I0014)
92 | Scientific Lab Balance ( 16P7I0020)
93 | SPINOT TM Digital Magnetic Strrir Hot plate ( 16P7I0020)
94 | Centerifuge 5430R (16P7I0013)
95 | Single door freezer 350L (16P7I0025)
96 | FIRE EXITINGUISHERS
97 | CIVIL WORK
98 | WATER BATH- DIGITAL | Yes-1 | Beston | >15 years | Owned
99 | Unloading charges for lab equipments- Nova saq X Plus
100 | LUMINOMETRY UPGRADE
101 | OVEN LAB TYPE
102 | WCS UV LAMP KIT
103 | PARAFIN BLOCK STORAGE CABIN | Yes (Total 10 nos. are there) | Beston | 1 year | Owned
104 | PARAFIN BLOCK STORAGE CABIN | Yes (Same as earlier) | Beston | 1 year | Owned
105 | SINGLE DOOR FREEZER
106 | PARAFIN BLOCK STORAGE CABIN & SLIDE BLOCK STORAGE | Yes (Parafffin block- Same as earlier) Slide Storage- 20 nos. | Beston | Paraffin block-1 year, | Owned
107 | G-50 TISSUE GRINDER ,MAKE:BR BIOCHEM
108 | MICRO CENTRIFUGE, MYSPIN 6,
109 | SINGLE SHUTTER FRAMELESS OPENABLE DOOR CUM SIDE AND TOP FIXED WINDOW
110 | OFFICE CHAIRS ( 24 )
111 | LABORTARY WALL SAIDE TABLE
112 | WALL SIDE TABLE
113 | LABORTARY STOOL
114 | ANTI VIBRATION TABLE WITH GRANITE TOP
115 | OFFICE CHAIRS ( 10)
116 | ANTI VIBRATION TABLE WITH GRANITE TOP
117 | REAGENT RACK
118 | WATER DISPENSOR
119 | OFFICE CHAIRS ( 21 )
120 | OFFICE CHAIRS
121 | CORNER SOFA
122 | OFFICE CHAIR
123 | OFFICE CHAIR
124 | MICROSCOPE
125 | HOT AIR OVEN
126 | WATER BATH
127 | BENCH TOP PH METER | Yes-1 no. | Scientific Tech | >15 years | Owned
128 | FINN PIPETTE 10-100 UI | Yes--5 nos. (pathology and IHC) |  | 10 years | Owned
129 | FINN PIPETTE 100-1000 UI | Yes-2 nos. (pathology and IHC) |  | 10 years | Owned
130 | MICROPIPETTES | Yes |  |  | Spec not mentioned
131 | MICROPIPETTES | Yes |  |  | Spec not mentioned
132 | STARTER KIT PROCUT XL 5 FOR
133 | FKG1000S - 2 DOOR DISPLAY CHILLER
134 | LMIF 30-LAB MAN ICE FLAKER
135 | QUIBIT 4 QUANT STARTER KIT
136 | BIOLOGICAL SAFETYCABINET | Same as earlier.
137 | TPC15 DUO TISSUE PROCESSING CENTER | Yes- 2 | Leica and Sakura | Leica- <1 year, Sakura- 6 years | Owned
138 | TISSUE EMBEDDING SYSTEM-TES99 | Yes-1 (Arcadia C and Arcadia H) | Leica | <1 year | Owned
139 | MEDITOME M 530 ROTARY MICROTOME
140 | 4" THIMBLE DUCT EXHAUST TRANSITION
141 | SMART BLOCK PCR
142 | SAFETY FASTENING KIT
143 | CRYOCUBE PREMIUM CO2 BACK UP
144 | REAL TIME PCR QUANTSTUDIO 5
145 | VARIOSKANLUX T&B F ABS VLB000D0
146 | BIOLOGICAL SAFETYCABINET | Same as earlier. |  |  | Owned
147 | MICROSCOPE | Yes (available with both doctors and technicians) | Labomed, Leica, Olympus |  | Owned
148 | BIOLOGICAL SAFETYCABINET | Same as earlier. |  |  | Owned
149 | LAMINAR AIRFLOW | In Microbiology and Molecular biology-2 nos. | Clean air, Labline | >15 years | Owned
150 | LAMINAR AIRFLOW | Same as earlier. |  |  | Owned
151 | AUTO CLAVE | Available in other sections of the lab-Microbiology, and Molecular biology - 3 nos. | Yorco, Beston, NATT | 4 years, 3 years, 12 years | Owned
152 | ELECTRONIC ANALYICAL BALANCE - 3 DIGIT | Yes-2 no. | Scalatac and CAS | 7 years, 12 years | Owned
153 | AUTOMATED CELL COUNTER
154 | AUTOCLAVES | Same as earlier.
155 | VORTEX MIXER
156 | GILSON 8 CHANNEL PIPPETTE
157 | FINNPIPPETTE F2 0.2-2 UL
158 | MICROPIPETTE
159 | PIPET FILLER WHITE
160 | ACCURO PUMP WITH XYLENE
161 | BONE BAND SAW
162 | CASETTE PRINTER WITH ACCESSORIES
163 | GROSSING STATION | Yes-1 | Genesys | 4 years | Owned
164 | NBF PUMPING SYSTEM
165 | PROCYCLER SOLVENT RECYCLING SYSTEM
166 | INVITROGEN MAGNETIC STAND
167 | PHLEBOTOMY COUCH
168 | FNL MVE HECO 1542R-190AF-TS
169 | AIR CONDITIONER
170 | AIR CONDITIONER
171 | AIR CONDITIONER
172 | RRFRIGIRATOR
173 | PRINTER
174 | RRFRIGIRATOR
175 | WHIRLPOOL REFRIGERATOR
176 | HARD DISK
177 | REFRIGIRATOR
178 | SINK PURCHASED
179 | MICROWAVE - OVEN
180 | MICROWAVE - OVEN
181 | LABORTARY WALL SAIDE TABLE PP SINK AND W
182 | LOWER STACKING STAND UPPER STACKING STAN
183 | COVER SLIPPER BONESTATION SPECIAL SLICIN
184 | LEICA TISSUE EMBEDDING COLD PLATE SEMI M | Yes- 1 no. (Same as earlier) | Leica | Less than a year | Owned
185 | FKG 371 SINGLE DOOR UPRIGHT SHOWCASE COO
186 | TST44 PROGRAMMABLE AUTOMATED SLIDESTAINE
187 | E CEP HEATED FORCEP CONTROLLER UNIT WITH
188 | BFS 150 SINGLE SOLID DOOR UPRIGHT FREEZE
189 | PLASTIC MOULDED CHAIR
190 | SS STOOL PURCHASED
191 | SLETTED ANGLE RACK
192 | Digital Pathology Scanner - 480 Slide
193 | DEEP FREEZER
194 | Gel Documentation imaging system with Accessories
195 | RESEARCH PLUS BASIC-SINGGLE CHANNEL( 12 NOS)
196 | WHIRLPOOL REF
197 | LEICA AUTOMATED STAINER | Yes-1 | Sakura | 9 years | Owned, currently showing some issues.
198 | HETTICH CYTO | Yes-1 | Thermac | >15 years | Owned
199 | LEICA CRYOSTAT MODEL CM1950 | Yes-2 nos. | Leica | one is 9years and other is 3 years | Owned
200 | FORMALDE METER HTV M KIT WITH STD ACCESSORIES | Yes available with Grossing station | Genesys | 4 years | Owned (integrated with GS)
201 | HP MONITOR HP P27 G5FHD FOR KOCHI LAB
202 | VOTEX MIXER ISWIX VT
203 | ROTOR,DEEPWELL MICROPLATE WI4 CARRIE & HIGH-CAP.MICROPLATE ROTOR WI4 CARRIER
204 | CO2 INCUBATOR FOR KOCHI LAB
205 | ANALYTICAL BALANCE 220G
206 | PHTESTER 5 FOR KOCHI LAB
207 | CYTOGENIC SYSTEM MODEL -Axioskope 5
208 | PARAFIN BLOCK STORAGE CABINET | Yes (Same as earlier) | Beston | 1 year | Owned
209 | PARAFIN BLOCK STORAGE CABINET | Yes (Same as earlier) | Beston | 1 year | Owned
210 | LN2 STORAGE CONTAINER MODEL YDS65216FZ
211 | MAGNUS BINOCULAR MICROSCOPE
212 | BIOMEK I7
213 | MBR EFFLUENT TREATMENT PLANT
214 | CRYOCUBE PREMIUM CO2 BACK UP
215 | AB 3500 GENETIC ANALYZER (DNA SEQUENCER)
216 | LE-220 ULTRASONICATOR
217 | VACCUM CLEANER, FORBS
218 | PARAFFIN BLOCK STORAGE CABINET, CAPACITY: 900 BLOCKS, SIZE: 485MM X 480MM X 91MM, WITH LID & BASE, MAKE: LABTECH | Yes (Same as earlier) | Beston | 1 year | Owned
219 | NovaSeq X Plus Sequencing System_Custom Duty
220 | NovaSeq X Plus Sequencing System
| Total Equipment Cost | Rs 34 Crore
Note: The above cost does not include the Project management cost & Design and Planning charges